## Slide 2: update science suite
Proposed work to include:
    New lab stations
    Electrical and plumbing updates
    New storage and casework
    New flexible furniture
    Updated finishes
Reconfigure central storage and create Robotics as a featured area
STATION 2
4

## Slide 5: OPTION1: update FACS AND Ag
Renovate FACS and Ag rooms within existing square footage
Renovate to support today’s programming needs
STATION 3
3A

## Slide 7: OPTION 2: update AND expand facs AND Ag
Renovated and expanded FACS and Ag rooms
Renovated Ag Project Lab
Reconfiguration allows for new collaborative space along corridor
Requires relocation of Special Education (DCD) room
STATION 3
3B

## Slide 8: small engines addition
Size of addition does NOT require building to ICC 500 Storm Shelter requirements (building code)
Dedicated Small Engines space with proper ventilation
Direct connection to Ag Project Lab
Selection of this option requires new greenhouse
Any addition requires connection to city water
STATION 3
2

## Slide 9: outdoor project yard (Allowance)
New outdoor project yard to support Ag, FACS, and Science programming
STATION 3
12

## Slide 10: Greenhouse (Allowance)
New Greenhouse with Head House for Material Storage
STATION 3
13

## Slide 11
Remodel existing general classroom to support DCD
Include new accessible restroom
Relocation supports expanded FACS and Ag spaces
relocate SPECIAL EDUCATION (DCd) room
11
STATION 3

## Slide 12: OPTION 1: update cte
Reconfigured CTE spaces within existing square footage
Reimagine CTE classrooms to include Prototyping & Digital Fabrication spaces
No additional square footage
STATION 4
1A

## Slide 14: OPTION 2: cte shop reconfiguration & addition
Size of addition requires new Woods and Construction Lab to be built to ICC 500 Storm Shelter requirements (building code)
All shop spaces increase in size
Loss of connection and adjacency between shop spaces
Any addition requires connection to city water
STATION 4
1B

## Slide 15: OPTION 3: cte expansion
Size of addition does NOT require building to ICC 500 Storm Shelter requirements (building code)
All shop spaces increase in size
Connection and adjacency between shops is retained
Reimagined classroom spaces to support prototyping and digital fabrication
Supports multi-discipline fabrication
Any addition requires connection to city water
STATION 4
1C

## Slide 17: boiler room and mechanics
Pneumatic Controls
Pneumatic actuators and thermostats are original to the building construction
Pneumatics need to be recalibrated or replaced frequently for proper operation
Antiquated technology with limited function and control
Steam Heating
Steam piping is original to the building
(2) Original Kewanee steam boiler 52 years old; 22 years past their expected useful life
Difficult to control and creates temperature issues
High maintenance and operational costs
Example of new boiler plant
Current boiler
M.1
STATION 5

## Slide 18: update HS COMMONS and restrooms
Update serving space with modern feel and improve flow
Update furniture to provide students variety and expand commons use beyond mealtimes
Display of Charger pride with finishes, acoustic products, displays, wall graphics, etc.
Reconfigure and update restrooms near high school cafeteria/commons
7
STATION 6
14

## Slide 19: OPTION 1: reconfigure HS office and entryway
Reconfigure existing high school office and vestibule to create safe and secure entryway
Create a welcoming outdoor entry plaza with landscaping, signage and gathering areas
5A
STATION 6

## Slide 20: OPTION 2: reconfigure HS office and entryway
Create safe and secure entry
Work largely within existing footprint, small reconfiguration and addition to entry vestibule
Create a welcoming outdoor entry plaza with landscaping, signage and gathering areas
Includes small entry commons space
Reconfigure office and entry sequence to maximize square footage
Requires new egress door from MS Cafeteria
Any addition requires connection to city water
5B
STATION 6

## Slide 21: OPTION 3: NEW ENTRYWAY, HS OFFICE, AND commons
New addition to create a presence for the front of the school.
Addition to include HS office, secure entryway, and entry commons
Create a welcoming outdoor entry plaza with landscaping, signage and gathering areas
Any addition requires connection to city water
5C
STATION 6

## Slide 24: OPTION 1: Renovate MS Industrial Tech
Renovate to support current and future-ready programming
8
STATION 7

## Slide 25: OPTION 2: MS Industrial Tech addition
Size of addition does NOT require building to ICC 500 Storm Shelter requirements (building code)
Addition allows for separate clean and messy project spaces
Enlarged space allows for expanded exploration and feeder programming for high school Career and Technical Education (CTE)
Addition requires fire suppression system to be added to the entire MS
Any addition requires connection to city water
9
STATION 7

## Slide 26: OPTION 1: Update ms FACS
Update existing square footage to support current programming needs
Updates to include finishes and furniture
Existing kitchen labs to remain
10A
STATION 7

## Slide 27: OPTION 2: expand ms facs
Relocate STEM in order to increase FACS room to original dimension
Increased size supports additional FACS programming and projects
Updates to include finishes and furniture; existing kitchens to remain
Includes updating flooring and storage solutions in STEM classroom
10B
STATION 7